| CHEMTECH PROJECT NUMBER: N3259 | MATRIX: Water |
| --- | --- |
| METHOD: 1664A,300.0,365.3,SM5220 D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples.The Matrix Spike analysis met criteria for all samples. The Matrix Spike Duplicate (POOL-WATERMSD)analysis met criteria for all samples except for Chloride due to matrix interferences. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS: N3259-01 was analyzed with 10X dilution for COD and Chloride due to brown matrix and client history.

_______________________________________				__________________________

QA REVIEW								Date