| CHEMTECH PROJECT NUMBER: P4258 | MATRIX: Solid |
| --- | --- |
| METHOD: 1030,160.4,1664A,7196A,9012B,9034,9041A,9045D,9056A,9095B,SM2540 B,SM4500-NH3,SM5220 D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples.The Matrix Spike (Chamberlain AveMS) analysis met criteria for all samples except for Oil and Grease due to matrix interferences. The Matrix Spike Duplicate (Chamberlain AveMSD) analysis met criteria for all samples except for Oil and Grease due to matrix interferences. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for Chamberlain Ave of pH & for Chamberlain Ave of Corrosivity Due to sample receive out of hold. |  |  |  |

ADDITIONAL COMMENTS: The temperature of the samples at the time of receipt was 22.1°C.

_______________________________________				__________________________

QA REVIEW								Date