| CHEMTECH PROJECT NUMBER: P4385 | MATRIX: Solid |
| --- | --- |
| METHOD: 6010D,7196A,9012B,9045D,9095B |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Duplicate (SP-10DUP) analysis met criteria for all samples except for Cyanide due to the results are below Reporting Limit. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for SP-1 of pH, for SP-10 of pH.for SP-2 of pH.for SP-3 of pH.for SP-4 of pH.for SP-5 of pH.for SP-6 of pH.for SP-7 of pH.for SP-8 of pH.for SP-9 of pH as samples were receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date