| CHEMTECH PROJECT NUMBER: P4599 | MATRIX: Solid |
| --- | --- |
| METHOD: 8015D/3541 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Chromatograms Labeled/Compounds Identified. |  |  | ü |
| 2. | Standard Summary Submitted. |  |  | ü |
| 3. | Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD. |  |  |  |
| 4. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 5. | Surrogate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable ranges. The Surrogate recoveries met the acceptable criteria except for EX-1-TPH-1 [Alpha,Alpha,Alpha-Trifluorotoluene - 207%], EX-1-TPH-3 [Alpha,Alpha,Alpha-Trifluorotoluene - 203%], EX-1-TPH-4 [Alpha,Alpha,Alpha-Trifluorotoluene - 1441%], EX-1-TPH-5 [Alpha,Alpha,Alpha-Trifluorotoluene - 173%], EX-1-TPH-8 [Alpha,Alpha,Alpha-Trifluorotoluene - 238%], EX-1-TPH-9 [Alpha,Alpha andAlpha-Trifluorotoluene - 179%] due to bad matrix. |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples . The Blank Spike Duplicate met requirements for all samples . The RPD met criteria . |  |  |  |
| 7. | Retention Time Shift Meet Criteria (if applicable) Comments: |  |  |  |
| 8. | Extraction Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. The Holding Times were met for all analysis. |  |  |  |

ADDITIONAL COMMENTS:

Due to very high concentration, Samples EX-1-TPH-1, EX-1-TPH-2, EX-1-TPH-3, EX-1-TPH-4, EX-1-TPH-5, EX-1-TPH-6, EX-1-TPH-7, EX-1-TPH-8 and EX-1-TPH-9 were analyzed in Methanol and reported.

The soil samples  results  are based on a dry weight basis.

_______________________________________				__________________________

QA REVIEW								Date