284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### METEM A GE POWER Business

### Project Name: Parsippany Wastewater Quarterly 2024

### Project # N/A

### Chemtech Project # P4681

Test Name: Cyanide,Field pH

A. Number of Samples and Date of Receipt:

2 Water samples were received on 11/01/2024.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

Cyanide, Field pH and Metals Group5. This data package contains results for Cyanide,Field pH.

C. Analytical Techniques:

The analysis of Cyanide was based on method SM4500-CN C,E and The analysis of Field pH was based on method SM4500-H B.

D. QA/ QC Samples:

The Holding Times were met for all analysis.

The Blank Spike met requirements for all samples.

The Duplicate analysis met criteria for all samples.

The Matrix Spike analysis met criteria for all samples.

The Matrix Spike Duplicate analysis met criteria for all samples.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

E. Additional Comments:

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________