| CHEMTECH PROJECT NUMBER: P4839 | MATRIX: Solid |
| --- | --- |
| METHOD: NJEPH/3541 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Chromatograms Labeled/Compounds Identified. |  |  | ü |
| 2. | Standard Summary Submitted. |  |  | ü |
| 3. | Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD. |  |  |  |
| 4. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 5. | Surrogate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable ranges. The Surrogate recoveries met the acceptable criteria except for EX-9-TPH-14DL [2-Bromonaphthalene (SURR) - 142.4%], EX-4-TPH-5DL [2-Bromonaphthalene (SURR) - 172.6%]. Due to high concentration of compounds, this samples required dilution. Therefore, samples were reanalyzed with dilution and reported. |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The MS {P4839-07MS} with File ID: FC067776.D recoveries met the requirements for all compounds except for Aliphatic C9-C12[159%], Aliphatic C12-C16[358%] due to matrix interference. The MSD {P4839-07MSD} with File ID: FC067777.D recoveries met the acceptable requirements except for Aliphatic C9-C12[161%], Aliphatic C12-C16[360%] due to matrix interference. The Blank Spike met requirements for all samples . The Blank Spike Duplicate met requirements for all samples . The RPD met criteria . |  |  |  |
| 7. | Retention Time Shift Meet Criteria (if applicable) Comments: |  |  |  |
| 8. | Extraction Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS:

Samples EX-9-TPH-9, EX-9-TPH-10, EX-9-TPH-11, EX-9-TPH-13, EX-9-TPH-14, EX-9-TPH-15, EX-9-TPH-17, EX-9-TPH-19, EX-9-TPH-21, EX-10-TPH-2, EX-4-TPH-5 and EX-4-TPH-5DL were diluted due to high concentrations.

The soil samples  results  are based on a dry weight basis.

_______________________________________				__________________________

QA REVIEW								Date