| CHEMTECH PROJECT NUMBER: P4997 | MATRIX: Water |
| --- | --- |
| METHOD: 200.7,245.1 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Calibration Summary met criteria. |  |  |  |
| 2. | ICP Interference Check Sample Results Summary Submitted. |  |  |  |
| 3. | Serial Dilution Summary (if applicable) Submitted. The Serial Dilution (14B-(1-4)-COMPL) met criteria for all samples except for Copper, Sodium due to unknown interference. |  |  |  |
| 4. | Laboratory Control Sample Summary (if applicable) Submitted. |  |  |  |
| 5. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Matrix Spike (14B-(1-4)-COMPMS) analysis met criteria for all samples except for Mercury due to matrix interference. The Matrix Spike Duplicate (14B-(1-4)-COMPMSD) analysis met criteria for all samples except for Copper due to matrix interference. |  |  |  |
| 7. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS: LLCCV & LLICV are not required for 200.7 method.

Samples were received on 11/25/2024, 14:10 and composited in the Lab on 11/25/2024, 14:55.

_______________________________________				__________________________

QA REVIEW								Date