| CHEMTECH PROJECT NUMBER: P5018 | MATRIX: Water |
| --- | --- |
| METHOD: 1664A,SM2540 D,SM2550-B,SM3500-Cr B,SM4500-CN B,G Cyanide-Amenable,SM4500-CN C,E,SM4500-H B |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS: Samples were received on 11/26/2024, 13:50 and composited in the Lab on 11/26/2024, 14:20.

_______________________________________				__________________________

QA REVIEW								Date