| CHEMTECH PROJECT NUMBER: P5370 | MATRIX: Water |
| --- | --- |
| METHOD: SM5310B |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples.The Matrix Spike (120524-89MS) analysis met criteria for all samples except for TOC due to matrix interferences. The Matrix Spike Duplicate (120524-89MSD) analysis met criteria for all samples except for TOC due to matrix interferences. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS: P5370-01 and P5370-02 samples were analyzed straight for TOC Due to bad matrix, analyzed as 400X straight dilution.

_______________________________________				__________________________

QA REVIEW								Date