| CHEMTECH PROJECT NUMBER: P5396 | MATRIX: Solid |
| --- | --- |
| METHOD: Chemtech -SOP |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS: The time of sampling was not listed in the COC.

The temperature of the samples at the time of receipt was 20.6°C.

_______________________________________				__________________________

QA REVIEW								Date