284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### Summit Environmental Technologies, LLC

### Project Name: 24120422

### Project # N/A

### Chemtech Project # P5404

Test Name: TOC

A. Number of Samples and Date of Receipt:

17 Water samples were received on 12/31/2024.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

TOC. This data package contains results for TOC.

C. Analytical Techniques:

The analysis of TOC was based on method SM5310B.

D. QA/ QC Samples:

The Holding Times were met for all samples except for 244661 of TOC, for 244662 of TOC.for 244663 of TOC.for 244664 of TOC.for 244665 of TOC.for 244666 of TOC.for 244667 of TOC.for 244668 of TOC.for 244669 of TOC.for 244670 of TOC.for 244671 of TOC.for 244672 of TOC.for 244673 of TOC.for 244674 of TOC.for 244675 of TOC.for 244677 of TOC.for 244680 of TOC as samples were Receive out of holding time.

The Blank Spike met requirements for all samples.

The Duplicate analysis met criteria for all samples.

The Matrix Spike analysis met criteria for all samples.

The Matrix Spike Duplicate analysis met criteria for all samples.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

E. Additional Comments:

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________