| CHEMTECH PROJECT NUMBER: P5404 | MATRIX: Water |
| --- | --- |
| METHOD: SM5310B |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for 244661 of TOC, for 244662 of TOC.for 244663 of TOC.for 244664 of TOC.for 244665 of TOC.for 244666 of TOC.for 244667 of TOC.for 244668 of TOC.for 244669 of TOC.for 244670 of TOC.for 244671 of TOC.for 244672 of TOC.for 244673 of TOC.for 244674 of TOC.for 244675 of TOC.for 244677 of TOC.for 244680 of TOC as samples were Receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date