284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### Summit Environmental Technologies, LLC

### Project Name: 24121544

### Project # N/A

### Chemtech Project # P5407

Test Name: TOC

A. Number of Samples and Date of Receipt:

7 Water samples were received on 12/31/2024.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

TOC. This data package contains results for TOC.

C. Analytical Techniques:

The analysis of TOC was based on method SM5310B.

D. QA/ QC Samples:

The Holding Times were met for all samples except for 2412-0430-001 of TOC, for 2412-0430-002 of TOC.for 2412-0430-003 of TOC.for 2412-0430-004 of TOC.for 2412-0430-005 of TOC.for 2412-0430-006 of TOC.for 2412-0430-007 of TOC as samples were receive out of holding time.

Sample 2412-0430-007 was diluted due to high concentrations for TOC.

The Blank Spike met requirements for all samples.

The Duplicate analysis met criteria for all samples.

The Matrix Spike analysis met criteria for all samples.

The Matrix Spike Duplicate analysis met criteria for all samples.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

E. Additional Comments:

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________