| CHEMTECH PROJECT NUMBER: Q1157 | MATRIX: Water |
| --- | --- |
| METHOD: SM2130 B,SM4500 Cl G |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for B2-W10-LH-DRINKING FOUNTAIN of Residual Chlorine, for B2-W10-RM2010-SINK of Residual Chlorine.for B2-W10-RM2011-RH-SINK of Residual Chlorine.for B2-W10-RM2016-SINK of Residual Chlorine.for B2-W10-RM2019-EYEWASH of Residual Chlorine.for B2-W10-RM-2035-SINK of Residual Chlorine.for B2-W10-RM2040-SINK of Residual Chlorine as samples were receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date