DATA OF KNOWN QUALITY CONFORMANCE/NON‑CONFORMANCE 
SUMMARY QUESTIONNAIRE
Laboratory Name :
Project Location :     Kearny, NJ
Laboratory Sample ID(s) :
List DKQP Methods Used (e.g., 8260,8270, et Cetra)
Client :
Project Number :
Sampling Date(s) :
EPH Method: Was the EPH method conducted without significant modifications (see Section 11.3 of respective DKQ methods)
 Were samples received at an appropriate temperature (4±2° C)?
Notes: For all questions to which the response was “No” (with the exception of question #7), additional information should be provided in an attached narrative. If the answer to question #1, #1A, or #1B is “No”, the data package does not meet the requirements for “Data of Known Quality.” 
1
1A
1B
2
3
4
5
6
7
Yes
No
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
N/A
No
Yes
No
Yes
N/A
No
Yes
No
Yes
þ
N/A
o
þ
o
þ
o
þ
o
þ
o
o
o
þ
þ
o
þ
o
o
þ
o
o
þ
o
For each analytical method referenced in this laboratory report package, were all specified QA/QC performance criteria followed, including the requirement to 
explain any criteria falling outside of acceptable guidelines, as specified in the 
NJDEP Data of Known Quality performance standards?
Were the method specified handling, preservation, and holding time requirements met?
Were all samples received by the laboratory in a condition consistent with that
described on the associated chain‑of‑custody document(s)?
Were all QA/QC performance criteria specified in the NJDEP DKQP
 standards achieved?
a)Were reporting limits specified or referenced on the chain‑of‑custody or communicated to the laboratory prior to sample receipt?
b)Were these reporting limits met?
For each analytical method referenced in this laboratory report package, were
 results reported for all constituents identified in the method‑specific analyte lists presented in the DKQP documents and/or site‑specific QAPP?
Are project‑specific matrix spikes and/or laboratory duplicates included in this data set?
Alliance Technical Group LLC
Portal Partners Tri‑Venture
950000878 
Q1194
1/25/2025
,6010D,7196A,7470A,7471B,8082A,8260‑Low,8260D,8270E,NJEPH,SOP