| CHEMTECH PROJECT NUMBER: Q1207 | MATRIX: Solid |
| --- | --- |
| METHOD: 1030,9012B,9034,9045D,9095B |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 3. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for JPP-16.2-012725 of Corrosivity, for JPP-2.1-012725 of Corrosivity.for JPP-20.2-012725 of Corrosivity.for JPP-4.5-012725 of Corrosivity.for JPP-5.1-012725 of Corrosivity as these samples received out of hold. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date