| CHEMTECH PROJECT NUMBER: Q1232 | MATRIX: Solid |
| --- | --- |
| METHOD: 1030,9012B,9034,9045D,9095B |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank |  |  |  |
| 2. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 3. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for JPP-42.1-012925 of Corrosivity, for JPP-42.2-012925 of Corrosivity.for JPP-46.1-012925 of Corrosivity.for JPP-46.2-012925 of Corrosivity.for JPP-51.1-012925 of Corrosivity as these samples are received out of hold. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date