284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### Total Quality Environmental Inc.

### Project Name: 142 Pierrepont Ave, Brooklyn NY

### Project # N/A

### Chemtech Project # Q1238

Test Name: TCLPMetals Group3

A. Number of Samples and Date of Receipt:

3 Solid samples were received on 01/30/2025.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

TCLP Extraction, TCLP Lead and TCLPMetals Group3. This data package contains results for TCLPMetals Group3.

C. Analytical Techniques:

The analysis of TCLPMetals Group3 was based on method 6010D and digestion based on method 3010 (waters) and TCLP extraction method was 1311.

D. QA/ QC Samples:

The Holding Times were met for all analysis.

The Blank Spike met requirements for all samples.

The Duplicate analysis met criteria for all samples.

The Matrix Spike analysis met criteria for all samples.

The Matrix Spike Duplicate analysis met criteria for all samples.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

The Serial Dilution met the acceptable requirements.

E. Additional Comments:

Fax and Hardcopy Data not match due to samples test change therefore all sample Re-analyzed in another sequence, and correct data reported in hardcopy.

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________