| CHEMTECH PROJECT NUMBER: Q1295 | MATRIX: Solid |
| --- | --- |
| METHOD: 9045D,9056A,Lloyd Kahn |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. The Matrix Spike analysis met criteria for all samples. The Matrix Spike Duplicate analysis met criteria for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 4. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for TAPFTA-SB01D-020425-00-T1 of pH as sample receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date