| CHEMTECH PROJECT NUMBER: Q1434 | MATRIX: Solid |
| --- | --- |
| METHOD: 8082A/3541 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Chromatograms Labeled/Compounds Identified. |  |  | ü |
| 2. | Standard Summary Submitted. |  |  | ü |
| 3. | Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD. |  |  |  |
| 4. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 5. | Surrogate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable ranges. The Surrogate recoveries met the acceptable criteria except for K084-4BDL [Decachlorobiphenyl(1) - 189%, Decachlorobiphenyl(2) - 218%], K084-5ADL [Decachlorobiphenyl(1) - 185%, Decachlorobiphenyl(2) - 209%], K084-5AMS [Decachlorobiphenyl(1) - 176%, Decachlorobiphenyl(2) - 205%], K084-5AMSD [Decachlorobiphenyl(1) - 180%, Decachlorobiphenyl(2) - 209%], K084-5CDL [Tetrachloro-m-xylene(1) - 149%, Tetrachloro-m-xylene(2) - 154%], K084-6B [Decachlorobiphenyl(1) - 185%, Decachlorobiphenyl(2) - 211%], K084-6BDL [Decachlorobiphenyl(1) - 239%, Decachlorobiphenyl(2) - 279%], K084-6C [Decachlorobiphenyl(1) - 423%, Decachlorobiphenyl(2) - 441%], K084-6CDL [Decachlorobiphenyl(1) - 516%, Decachlorobiphenyl(2) - 548%], K084-7A [Decachlorobiphenyl(1) - 281%, Decachlorobiphenyl(2) - 310%], K084-7ADL [Decachlorobiphenyl(1) - 354%, Decachlorobiphenyl(2) - 401%], K084-7ADL2 [Decachlorobiphenyl(1) - 0%, Decachlorobiphenyl(2) - 0%, Tetrachloro-m-xylene(1) - 0%, Tetrachloro-m-xylene(2) - 0%], K084-7B [Decachlorobiphenyl(1) - 203%, Decachlorobiphenyl(2) - 228%], K084-7BDL [Decachlorobiphenyl(1) - 287%, Decachlorobiphenyl(2) - 330%], K084-7C [Tetrachloro-m-xylene(2) - 148%] and K084-7CDL [Tetrachloro-m-xylene(2) - 151%]. Due to high concentration of compounds, these samples required dilution. Therefore, samples were reanalyzed with dilution and reported. |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The MS {Q1434-03MS} with File ID: PO109562.D recoveries met the requirements for all compounds except for AR1016[182%], AR1260[554%] due to matrix interference. The MS {Q1434-02MS} with File ID: PO109688.D recoveries met the requirements for all compounds except for AR1260[309%] due to matrix interference. The MSD {Q1434-03MSD} with File ID: PO109563.D recoveries met the acceptable requirements except for AR1016[182%], AR1260[554%] due to matrix interference. The MSD {Q1434-02MSD} with File ID: PO109689.D recoveries met the acceptable requirements except for AR1260[348%] due to matrix interference. The Blank Spike met requirements for all samples . The RPD met criteria . |  |  |  |
| 7. | Retention Time Shift Meet Criteria (if applicable) Comments: |  |  |  |
| 8. | Extraction Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS:

Samples K084-4B, K084-4C, K084-5A, K084-5B, K084-5C, K084-6B, K084-6C, K084-7A, K084-7ADL, K084-7B and K084-7C were diluted due to high concentrations.

The soil samples  results  are based on a dry weight basis.

_______________________________________				__________________________

QA REVIEW								Date