| CHEMTECH PROJECT NUMBER: Q1478 | MATRIX: /Water |
| --- | --- |
| METHOD: 1010B,1030,9040C,9045D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 2. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for IDW-AQ-IW-01-COMP-022825 of pH, for IDW-AQ-IW-02-COMP-022825 of pH.for IDW-AQ-IW-03-COMP-022825 of pH.for IDW-AQ-MW-19B-COMP-022825 of pH.for IDW-SO-COMP-022825 of Corrosivity. As these samples are received out of hold. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date