| CHEMTECH PROJECT NUMBER: Q1488 | MATRIX: /Water |
| --- | --- |
| METHOD: 1030,7196A,9012B,9034,9045D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for ENV-101-SB01 of Corrosivity, for ENV-101-SB02 of Corrosivity.for ENV-102-SB01 of Corrosivity.for ENV-102-SB02 of Corrosivity.for ENV-104-SB01 of Corrosivity.for ENV-104-SB02 of Corrosivity as samples were receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date