284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### APTIM

### Project Name: NSFIH - Indian Head - 502082.01020000

### Project # N/A

### Chemtech Project # Q1543

Test Name: Metals ICP-TAL

A. Number of Samples and Date of Receipt:

2 Water samples were received on 03/11/2025.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

Metals ICP-TAL. This data package contains results for Metals ICP-TAL.

C. Analytical Techniques:

The analysis of Metals ICP-TAL was based on method 6010D and digestion based on method 3010 (waters).

D. QA/ QC Samples:

The Holding Times were met for all analysis.

The Blank Spike met requirements for all samples.

The Duplicate analysis met criteria for all samples.

The Matrix Spike (ISB878MW05MS) analysis met criteria for all samples except for Aluminum, Iron, Manganese due to matrix interference.

The Matrix Spike Duplicate (ISB878MW05MSD) analysis met criteria for all samples except for Aluminum, Iron, Manganese due to matrix interference.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

The Serial Dilution (ISB878MW05L) met criteria for all samples except for Iron due to unknown interference.

E. Additional Comments:

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________