| CHEMTECH PROJECT NUMBER: Q1548 | MATRIX: Solid |
| --- | --- |
| METHOD: 9045D,9060A |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. The Matrix Spike analysis met criteria for all samples. The Matrix Spike Duplicate (TAPLPR-SED13-031125-00-T2MSD) analysis met criteria for all samples except for TOC due to matrix interferences. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 4. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for TAPIAL2-SED03-031125-00-T2 of pH, for TAPLPR-SED12-031125-00-T2 of pH.for TAPLPR-SED13-031125-00-T2 of pH as samples were receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

Lab has used least representable sample weight for the sample Q1548-02 for TOC analysis. Therefore Lab has reported the TOC result with "OR" qualifier.

_______________________________________				__________________________

QA REVIEW								Date