| CHEMTECH PROJECT NUMBER: Q1626 | MATRIX: Solid |
| --- | --- |
| METHOD: 8151A/3541 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Chromatograms Labeled/Compounds Identified. |  |  | ü |
| 2. | Standard Summary Submitted. |  |  | ü |
| 3. | Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD. |  |  |  |
| 4. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 5. | Surrogate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable ranges. |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The MS {Q1626-01MS} with File ID: PS029594.D recoveries met the requirements for all compounds except for 2,4,5-TP(Silvex)[8%], 2,4-DB[0%] and Dinoseb[0%] due to matrix interference. The MSD {Q1626-01MSD} with File ID: PS029595.D recoveries met the acceptable requirements except for 2,4,5-TP(Silvex)[8%], 2,4-DB[0%] and Dinoseb[0%] due to matrix interference. The Blank Spike met requirements for all samples . The RPD met criteria . |  |  |  |
| 7. | Retention Time Shift Meet Criteria (if applicable) Comments: |  |  |  |
| 8. | Extraction Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS:

The fax and hardcopy is not matching for sample CO-32-1 due to sample CO-32-1 was reported with failed method at the time fax,  but at the time of second review lab noticed this issue therefore this sample analyzed with passed method. Hardcopy is reported corrected. The fax data is provided in Miscellaneous Section.

The soil samples  results  are based on a dry weight basis.

_______________________________________				__________________________

QA REVIEW								Date