284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### BAPS North Bergen

### Project Name: BAPS North Bergen

### Project # N/A

### Chemtech Project # Q1640

Test Name: SPLP MetalGroup6,SPLP MetalGroup2,SPLP MetalGroup4,SPLP MetalGroup3

A. Number of Samples and Date of Receipt:

5 Solid samples were received on 03/25/2025.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

SPLP Extraction, SPLP MetalGroup2, SPLP MetalGroup3, SPLP MetalGroup4 and SPLP MetalGroup6. This data package contains results for SPLP MetalGroup6,SPLP MetalGroup2,SPLP MetalGroup4,SPLP MetalGroup3.

C. Analytical Techniques:

The analysis of SPLP MetalGroup2,SPLP MetalGroup3,SPLP MetalGroup4,SPLP MetalGroup6 was based on method 6010D and digestion based on method 3050 (soils).

D. QA/ QC Samples:

The Holding Times were met for all analysis.

The Blank Spike met requirements for all samples.

The Duplicate analysis met criteria for all samples.

The Matrix Spike analysis met criteria for all samples.

The Matrix Spike Duplicate analysis met criteria for all samples.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

The Serial Dilution met the acceptable requirements.

E. Additional Comments:

Q1640 – samples are activated from Project P4822. See the communication in shipping Document section.

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________