| CHEMTECH PROJECT NUMBER: Q1831 | MATRIX: Water |
| --- | --- |
| METHOD: 1664A,365.3,SM2120 B,SM2540 C,SM2540 D,SM4500-NH3,SM5210 B,SM5220 D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples.The Matrix Spike (EFFLUENT-COMPOSITEMS) analysis met criteria for all samples except for Phosphorus-Total due to matrix interference. The Matrix Spike Duplicate (EFFLUENT-COMPOSITEMSD) analysis met criteria for all samples except for Phosphorus-Total due to matrix interference. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS: For Color, sample Q1831-01 reported with straight 20X dilution due  to client history of high results.

For Ammonia, the initial volume was taken 1 ml instead of 50 ml due to client history.

_______________________________________				__________________________

QA REVIEW								Date