| CHEMTECH PROJECT NUMBER: Q1851 | MATRIX: Solid |
| --- | --- |
| METHOD: NJEPH/3541 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Chromatograms Labeled/Compounds Identified. |  |  | ü |
| 2. | Standard Summary Submitted. |  |  | ü |
| 3. | Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD. |  |  |  |
| 4. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 5. | Surrogate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable ranges. |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The MS {Q1848-03MS} with File ID: FG015739.D recoveries met the requirements for all compounds except for Aliphatic C28-C40[29.9%], Aliphatic C9-C28[32.5%] Due to matrix interference. The MSD {Q1848-03MSD} with File ID: FG015740.D recoveries met the acceptable requirements except for Aliphatic C28-C40[21.6%], Aliphatic C9-C28[30%] Due to matrix interference . The Blank Spike met requirements for all samples . The Blank Spike Duplicate met requirements for all samples . The RPD for {Q1848-03MSD} with File ID: FG015740.D met criteria except for Aliphatic C28-C40[32.2%] due to difference in results of MS and MSD . |  |  |  |
| 7. | Retention Time Shift Meet Criteria (if applicable) Comments: |  |  |  |
| 8. | Extraction Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS:

The soil samples  results  are based on a dry weight basis.

_______________________________________				__________________________

QA REVIEW								Date