| CHEMTECH PROJECT NUMBER: Q1879 | MATRIX: Water |
| --- | --- |
| METHOD: 9040C,9065,SM2310 B,SM2320 B,SM4500 N Org B or C,SM4500-NH3 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for ACID-MIXTURE-TF-CONTAINMENT of pH, for STEM-31-SULFURIC-ACID of pH.for STEM-32-NITRIC-ACID of pH.for STEM-46-NITRIC-ACID of pH as samples were receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS: Due to limited volume of sample,  5ML was taken as a initial volume and DUP, MS and MSD was not performed for Ammonia , TKN and Phenolics.

_______________________________________				__________________________

QA REVIEW								Date