284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### METEM A GE POWER Business

### Project Name: Tank Farm - Acid Analysis

### Project # N/A

### Chemtech Project # Q1879

Test Name: Metals ICP-TAL,Mercury

A. Number of Samples and Date of Receipt:

4 Water samples were received on 04/24/2025.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

Acidity, Alkalinity, Ammonia, Anions Group1, Mercury, Metals ICP-TAL, METALS-TAL, pH, Phenolics, TKN and Total  Nitrogen. This data package contains results for Metals ICP-TAL,Mercury.

C. Analytical Techniques:

The analysis of Metals ICP-TAL was based on method 6010D, digestion based on method 3010 (waters). The analysis and digestion of Mercury was based on method 7470A.

D. QA/ QC Samples:

The Holding Times were met for all analysis.

Sample STEM-31-SULFURIC-ACID was diluted due to high concentrations for Chromium, Cobalt, Nickel & Sample STEM-32-NITRIC-ACID was diluted due to high concentrations for Cobalt, and Nickel & Sample STEM-46-NITRIC-ACID was diluted due to high concentrations for Nickel & Sample ACID-MIXTURE-TF-CONTAINMENT was diluted due to high concentrations for Cobalt, Nickel.

The Blank Spike met requirements for all samples.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

E. Additional Comments:

FAX and Hard copy not match for samples some high over range parameters as at the time of fax , its Dilutions was not analyzed, so preliminary results was Reported , after that its dilutions are analyzed , so in Hardcopy correct data reported. And for Q1879-03 sample, at time of fax its reported from straight 5X Dilution and after its Original sample analyzed so in Hard copy original analysis reported and a parameter which is high is reported from its Dilution..

Sample Q1879-01, Q1879-02, Q1879-04 was analyzed straight 5X Dilutions due to bad sample matrix.

Due to limited volume of sample, DUP, MS and MSD were not performed for Metals and Mercury test.

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________