| CHEMTECH PROJECT NUMBER: Q1879 | MATRIX: Water |
| --- | --- |
| METHOD: 6010D,7470A |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Calibration Summary met criteria. |  |  |  |
| 2. | ICP Interference Check Sample Results Summary Submitted. |  |  |  |
| 3. | Serial Dilution Summary (if applicable) Submitted. |  |  |  |
| 4. | Laboratory Control Sample Summary (if applicable) Submitted. |  |  |  |
| 5. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 7. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS: FAX and Hard copy not match for samples some high over range parameters as at the time of fax , its Dilutions was not analyzed  due to 1 day priority fax , so preliminary results was Reported , after that its dilutions are analyzed , so in Hardcopy correct data reported.

Sample Q1879-01 , Q1879-02 , Q1879-04 was analyzed straight 5X Dilutions due to  bad sample matrix.

Due to limited volume of sample, DUP, MS and MSD was not performed for Metals and Mercury test.

_______________________________________				__________________________

QA REVIEW								Date