| CHEMTECH PROJECT NUMBER: Q1944 | MATRIX: /Water |
| --- | --- |
| METHOD: 9040C,9045D,9065,SM2310 B,SM2320 B,SM4500 N Org B or C,SM4500-NH3 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples.The Matrix Spike (WATER-TREATMENT-DISCHARGEMS) analysis met criteria for all samples except for Ammonia Due to matrix interference. The Matrix Spike Duplicate analysis met criteria for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for CHILLER-WATER of pH, for CITY-WATER of pH.for MELTED-RUBBER-SAMPLE of pH. As these samples are received out of hold. |  |  |  |

ADDITIONAL COMMENTS: The time of sampling were not listed in the COC.

The fax and hardcopy is not matching for Phenolics. After fax, at the time of second review lab noticed associated CCV was out side of qc limits therefore these samples were reanalyzed and reported, Hard copy is reported correct.

_______________________________________				__________________________

QA REVIEW								Date