| CHEMTECH PROJECT NUMBER: Q1944 | MATRIX: Solid, Water |
| --- | --- |
| METHOD: 6010D,7470A,7471B |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Calibration Summary met criteria. |  |  |  |
| 2. | ICP Interference Check Sample Results Summary Submitted. |  |  |  |
| 3. | Serial Dilution Summary (if applicable) Submitted. The Serial Dilution met criteria for all samples. |  |  |  |
| 4. | Laboratory Control Sample Summary (if applicable) Submitted. |  |  |  |
| 5. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Matrix Spike (GB1WMS) analysis met criteria for all samples except for Mercury due to matrix interference. The Matrix Spike (OK-01-050125MS) analysis met criteria for all samples except for Antimony due to matrix interference. The Matrix Spike Duplicate (GB1WMSD) analysis met criteria for all samples except for Mercury due to matrix interference. The Matrix Spike Duplicate (OK-01-050125MSD) analysis met criteria for all samples except for Antimony, Copper due to matrix interference. |  |  |  |
| 7. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Duplicate (OK-01-050125DUP) analysis met criteria for all samples except for Barium, Copper, Lead, Potassium due to matrix interference. The Duplicate (OK-01-050125MSD) analysis met criteria for all samples except for Antimony, Copper, Nickel due to matrix interference. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS: The time of sampling were not listed in the COC.

The initial volume for Metals was taken 0.82g instead of 2.0g due to very limited volume.

Sample Q1944-03 for Metals was analyzed with straight 5X dilution due to sample physical appearance, viscosity and matrix.

_______________________________________				__________________________

QA REVIEW								Date