| ORDER ID: Q1957 | MATRIX: Solid |
| --- | --- |
| METHOD: Lloyd Kahn |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS: Lab has used least representable sample weight for the samples Q1957-01, Q1957-02 and Q1957-03 for TOC analysis. Therefore Lab has reported the TOC result with "OR" qualifier.

_______________________________________				__________________________

QA REVIEW								Date