| ORDER ID: Q2058 | MATRIX: Water |
| --- | --- |
| METHOD: 1664A,365.3,SM2540 D,SM4500-NH3,SM4500-P E,SM5210 B |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS: Q2058-01 and Q2058-05- Due to bad matrix and client history 1 ML was taken as an initial volume for Ammonia.

As per method, aqueous sample for Ortho-Phoshphorus analysis should be filtered

within 15 minutes of collection time. However, samples were not filtered as per method

requirement therefore Lab has filtered the samples in-house upon receipt.

_______________________________________				__________________________

QA REVIEW								Date