284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### US Army Corp of Engineers

### Project Name: USACE NAB Sediment Project 25

### Project # N/A

### Order ID # Q2085

Test Name: Ammonia,Phosphorus, Total,TKN,TOC

A. Number of Samples and Date of Receipt:

8 Solid samples were received on 05/20/2025.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

Ammonia, Mercury, Metals Group2, Metals ICP-Group, Phosphorus, Total, TKN and TOC. This data package contains results for Ammonia, Phosphorus, Total, TKN, TOC.

C. Analytical Techniques:

The analysis of TOC was based on method 9060A, The analysis of Phosphorus-Total was based on method 365.3, The analysis of TKN was based on method SM4500 N Org B or C and The analysis of Ammonia was based on method SM4500-NH3.

D. QA/ QC Samples:

The Holding Times were met for all analysis.

The Blank Spike met requirements for all samples.

The Duplicate analysis met criteria for all samples.

The Matrix Spike (SC-4-SED-051525MS) analysis met criteria for all samples except for Phosphorus, Total due to matrix interference.

The Matrix Spike Duplicate (SC-4-SED-051525MSD) analysis met criteria for all samples except for Phosphorus, Total due to matrix interference.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

E. Additional Comments:

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________