| ORDER ID: Q2150 | MATRIX: Solid |
| --- | --- |
| METHOD: 8151A/3541 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Chromatograms Labeled/Compounds Identified. |  |  | ü |
| 2. | Standard Summary Submitted. |  |  | ü |
| 3. | Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD. |  |  |  |
| 4. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 5. | Surrogate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable ranges. The Surrogate recoveries met the acceptable criteria except for TP-50 [2,4-DCAA(1) - 8%, 2,4-DCAA(2) - 7%], TP-50RE [2,4-DCAA(1) - 7%, 2 and4-DCAA(2) - 8%]. Sample reanalyzed to confirm results, original and reanalysis both are reported. |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The MS {Q2130-01MS} with File ID: PS030577.D recoveries met the requirements for all compounds except for [Dinoseb(1)- 9%] due to matrix interference. The MSD {Q2130-01MSD} with File ID: PS030578.D recoveries met the acceptable requirements except for [Dinoseb(1)- 9%] due to matrix interference. The Blank Spike met requirements for all samples . The RPD for {Q2130-01MSD} with File ID: PS030578.D met criteria except for [2,4-DB(1)- 25%] due to difference in MS and MSD concentrations. |  |  |  |
| 7. | Retention Time Shift Meet Criteria (if applicable) Comments: |  |  |  |
| 8. | Extraction Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS:

The soil samples  results  are based on a dry weight basis.

_______________________________________				__________________________

QA REVIEW								Date