| ORDER ID: Q2177 | MATRIX: /Water |
| --- | --- |
| METHOD: 1030,6010D,7196A,9012B,9034,9045D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for B-187-SB01 of Corrosivity, for B-187-SB02 of Corrosivity.for B-202-SB01 of Corrosivity. |  |  |  |

ADDITIONAL COMMENTS: As per method, aqueous sample for Hexavalent Chromium analysis should be filtered within 15 minutes of collection time. However, samples were not filtered as per requirement therefore Lab has filtered the samples in-house.

Sample was filtered in the Lab and analyzed after 24 hours from collection. Therefore; pH was checked and verified within range 9.3-9.7.

_______________________________________				__________________________

QA REVIEW								Date