DATA OF KNOWN QUALITY CONFORMANCE/NON-CONFORMANCE

SUMMARY QUESTIONNAIRE

Laboratory Name :        Alliance Technical Group LLC

Project Location :          Brooklyn, NY

Laboratory Sample ID(s) :

List DKQP Methods Used (e.g., 8260,8270, et Cetra)

Client :

Project Number :

Sampling Date(s) :

EPH Method: Was the EPH method conducted without significant modifications (see Section 11.3 of respective DKQ methods)

Were samples received at an appropriate temperature (4±2° C)?

Notes: For all questions to which the response was “No” (with the exception of question #7), additional information should be provided in an attached narrative. If the answer to question #1, #1A, or #1B is “No”, the data package does not meet the requirements for “Data of Known Quality.”

1

1A

1B

2

3

4

5

6

7

Yes

No

No

Yes

No

Yes

No

Yes

No

Yes

No

Yes

N/A

No

Yes

No

Yes

N/A

No

Yes

No

Yes



N/A













































For each analytical method referenced in this laboratory report package, were all specified QA/QC performance criteria followed, including the requirement to

explain any criteria falling outside of acceptable guidelines, as specified in the

NJDEP Data of Known Quality performance standards?

Were the method specified handling, preservation, and holding time requirements met?

Were all samples received by the laboratory in a condition consistent with that

described on the associated chain-of-custody document(s)?

Were all QA/QC performance criteria specified in the NJDEP DKQP

standards achieved?

a)Were reporting limits specified or referenced on the chain-of-custody or communicated to the laboratory prior to sample receipt?

b)Were these reporting limits met?

For each analytical method referenced in this laboratory report package, were

results reported for all constituents identified in the method-specific analyte lists presented in the DKQP documents and/or site-specific QAPP?

Are project-specific matrix spikes and/or laboratory duplicates included in this data set?

ENTACT

E9309

Q2237

06/04/2025

1010B,6010D,7470A,8082A,8260-Low,8270E,SM2540 D,SM5210 B