| ORDER ID: Q2276 | MATRIX: Water |
| --- | --- |
| METHOD: 1664A,9040C,SM2540 D,SM5210 B,SM5220 D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all samples.The Matrix Spike (MH-6-10-2025MS) analysis met criteria for all samples except for Oil and Grease due to matrix interference. The Matrix Spike Duplicate (MH-6-10-2025MSD) analysis met criteria for all samples except for Oil and Grease due to matrix interference. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for MH-6-10-2025 of pH as sample was receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS: Q2276 - Dup was not analyzed for Oil and Grease as no enough volume of sample.

Sample Q2276- analyzed stright Dilution for COD parameter because the original samples were reading over range, only 100X has been reported.

_______________________________________				__________________________

QA REVIEW								Date