284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### Europastry

### Project Name: MCUA Permit No 14241 - 571 Jersey Ave NB NJ

### Project # N/A

### Order ID # Q2276

Test Name: Metals Group3

A. Number of Samples and Date of Receipt:

3 Water samples were received on 06/10/2025.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

BOD5, COD, Conductance, Metals Group3, Oil and Grease, pH, TPH and TSS. This data package contains results for Metals Group3.

C. Analytical Techniques:

The analysis of Metals Group3 was based on method 6010D and digestion based on method 3010 (waters).

D. QA/ QC Samples:

The Holding Times were met for all analysis.

The Blank Spike met requirements for all samples.

The Duplicate analysis met criteria for all samples.

The Matrix Spike analysis met criteria for all samples.

The Matrix Spike Duplicate analysis met criteria for all samples.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

The Serial Dilution met the acceptable requirements.

E. Additional Comments:

As per special requirement for this project form-1 and hit Summary are reported in mg/l.

Sample Q2276-01 diluted and reported all elements from straight 5X dilution due to highly contaminated sample matrix and oily and viscous matrix and sample is taken for digestion 5ml to final volume as 25ml.

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________