| ORDER ID: Q2458 | MATRIX: Solid, Water |
| --- | --- |
| METHOD: 6010D,7470A,7471B |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Calibration Summary met criteria. |  |  |  |
| 2. | ICP Interference Check Sample Results Summary Submitted. |  |  |  |
| 3. | Serial Dilution Summary (if applicable) Submitted. The Serial Dilution (TW-WTS-11L) met criteria for all parameters except for Potassium due to unknown interference . The Serial Dilution (WC-1L) met criteria for all parameters except for Mercury due to unknown interference. |  |  |  |
| 4. | Laboratory Control Sample Summary (if applicable) Submitted. |  |  |  |
| 5. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Matrix Spike (TP-68MS) analysis met criteria for all parameters except for Antimony, Copper, Potassium, Vanadium, Zinc due to matrix interference. The Matrix Spike (TW-WTS-11MS) analysis met criteria for all parameters except for Silver due to matrix interference. The Matrix Spike Duplicate (TP-68MSD) analysis met criteria for all parameters except for Antimony, Copper, Potassium, Vanadium, Zinc due to matrix interference. The Matrix Spike Duplicate (TW-WTS-11MSD) analysis met criteria for all parameters except for Aluminum due to matrix interference. |  |  |  |
| 7. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Duplicate (TP-68MSD) analysis met criteria for all parameters except for Copper due to matrix interference . The Duplicate (TW-WTS-11MSD) analysis met criteria for all parameters except for Silver due to matrix interference. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date