| ORDER ID: Q2458 | MATRIX: /Water |
| --- | --- |
| METHOD: 8081B/3510 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Chromatograms Labeled/Compounds Identified. |  |  | ü |
| 2. | Standard Summary Submitted. |  |  | ü |
| 3. | Calibration - Initial Calibration performed within 30 days before sample analysis and continuing calibration performed within 24 hours of sample analysis, 12 HOURS IF 8000 SERIES METHOD. |  |  |  |
| 4. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 5. | Surrogate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable ranges. |  |  |  |
| 6. | Matrix Spike/Matrix Spike Duplicate Recoveries Meet Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The MS recoveries met the requirements for all compounds due to matrix interference. The MSD recoveries met the acceptable requirements due to matrix interference. The Blank Spike met requirements for all samples . The Blank Spike Duplicate met requirements for all samples . The RPD met criteria . |  |  |  |
| 7. | Retention Time Shift Meet Criteria (if applicable) Comments: |  |  |  |
| 8. | Extraction Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |
| 9. | Analysis Holding Time Met If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |

ADDITIONAL COMMENTS:

Sample TP-67 was reported with J flag on form 1 for compound 4-4 DDT based on reporting criteria of high concentration from both column.

Now for other column compound detection is below MDL therefore it is not detecting on form 10.

Sample TP-60 was reported with J flag on form 1 for compound  4,4-DDD based on reporting criteria of high concentration from both column.

Now for other column compound detection is below MDL therefore it is not detecting on form 10.

Sample TP-62 was reported with J flag on form 1 for compound Heptachlor based on reporting criteria of high concentration from both column.

Now for other column compound detection is below MDL therefore it is not detecting on form 10.

The soil samples  results  are based on a dry weight basis.

_______________________________________				__________________________

QA REVIEW								Date