284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### Parkway Generation Operating LLC

### Project Name: Fo Tank

### Project # N/A

### Order ID # Q2474

Test Name: TCLP Mercury,TCLPMetals Group3

A. Number of Samples and Date of Receipt:

1 Solid sample was received on 07/01/2025.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

TCLP Extraction, TCLP Mercury and TCLPMetals Group3. This data package contains results for TCLP Mercury,TCLPMetals Group3.

C. Analytical Techniques:

The analysis of TCLPMetals Group3 was based on method 6010D, digestion based on method 3010 (waters). The analysis and digestion of TCLP Mercury was based on method 7470A and TCLP extraction method was 1311.

D. QA/ QC Samples:

The Holding Times were met for all analysis.

The Blank Spike met requirements for all parameters.

The Duplicate analysis met criteria for all parameters.

The Matrix Spike analysis met criteria for all parameters.

The Matrix Spike Duplicate analysis met criteria for all parameters.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

The Serial Dilution met the acceptable requirements.

E. Additional Comments:

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________