| ORDER ID: Q2481 | MATRIX: Water |
| --- | --- |
| METHOD: 1010B,9040C |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all parameters. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for CC0267-OXPL of pH, for CC0625-NL of pH.for CC0625-OXBL of pH.for CC0627-AL of pH.for CC0627-AOXL of pH.for CC0627-BL of pH.for CC0627-CLOXAL of pH.for CC0627-CLOXPL of pH.for CC0627-OXL of pH.for CC0627-SFBL of pH as samples were receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date