| ORDER ID: Q2489 | MATRIX: Solid |
| --- | --- |
| METHOD: 1030,9012B,9034,9045D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all parameters. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Duplicate (G4(0-6)DUP) analysis met criteria for all parameters except for Reactive Sulfide due to matrix interference. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for G1(0-6) of Corrosivity, for G1(6-12) of Corrosivity,for G2(0-6) of Corrosivity,for G2(6-12) of Corrosivity,for G3(0-6) of Corrosivity,for G3(6-12) of Corrosivity,for G4(0-6) of Corrosivity,for G4(6-12) of Corrosivity, as samples were receive out of holding time. |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date