284 Sheffield Street, Mountainside, NJ 07092 Phone: 908 789 8900 Fax: 908 789 8922

CASE NARRATIVE

### ATG - AKRON LAB

### Project Name: PO 25062304

### Project # N/A

### Order ID # Q2495

Test Name: Cyanide

A. Number of Samples and Date of Receipt:

17 Solid samples were received on 07/02/2025.

B. Parameters:

According to the Chain of Custody document, the following analyses were requested:

Cyanide. This data package contains results for Cyanide.

C. Analytical Techniques:

The analysis of Cyanide was based on method 9012B.

D. QA/ QC Samples:

The Holding Times were met for all samples except for 3rd Fl Hallway N of Cyanide, for Chair Foam Parke of Cyanide.for Dining Room W of Cyanide.for E Bedroom Ceilin of Cyanide.for Family Room SW of Cyanide.for Foyer SE Corner P of Cyanide.for Garage Southwes of Cyanide.for Green Carpet Pad of Cyanide.for Kitchen Dining E of Cyanide.for LR Couch Cushion of Cyanide.for Master Bathroom of Cyanide.for Rug in Dining Roo of Cyanide.for SE Bedroom (3rd of Cyanide.for SE Bedroom Park of Cyanide.for South East Ceilining of Cyanide.for Zack"s Couch of Cyanide.for Zack"s Matterss of Cyanide as samples were receive out of holding time.

The Blank Spike met requirements for all parameter.

The Duplicate analysis met criteria for all parameter.

The Matrix Spike analysis met criteria for all parameter.

The Matrix Spike Duplicate analysis met criteria for all parameter.

The Blank analysis did not indicate the presence of lab contamination.

The Calibration met the requirements.

E. Additional Comments:

I certify that the data package is in compliance with the terms and conditions of the contract, both technically and for completeness, for other than the conditions detailed above. The laboratory manager or his designee, as verified by the following signature has authorized release of the data contained in this hard copy data package.

Signature__________________________