| ORDER ID: Q2525 | MATRIX: Water |
| --- | --- |
| METHOD: 1664A,365.3,SM2120 B,SM2540 C,SM2540 D,SM4500-NH3,SM5210 B,SM5220 D |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all compounds. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS: Sample Q2525-01  was analyzed with 10x dilution for Color parameter due to client history of high results.

Due to bad matrix and client history 1ML was taken as an initial volume for Q2525-01 Ammonia test.

_______________________________________				__________________________

QA REVIEW								Date