| ORDER ID: Q2552 | MATRIX: Water |
| --- | --- |
| METHOD: 180.1,SM2130 B |  |

|  |  |  |  |  | NA | NO | YES |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. |  | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |  |  |
| 2. |  | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |  |  |
| 3. |  | Digestion Holding Time Met If not met, list number of days exceeded for each sample: The Holding Times were met for all samples except for WS0725-PT-TURB-WS of Turbidity and for WS0725-PT-TURB-WS of Turbidity as samples were receive out of holding time. |  |  |  |  |  |

ADDITIONAL COMMENTS:

_______________________________________				__________________________

QA REVIEW								Date