| ORDER ID: Q2562 | MATRIX: Water |
| --- | --- |
| METHOD: 300.0 |  |

|  |  | NA | NO | YES |
| --- | --- | --- | --- | --- |
| 1. | Blank Contamination - If yes, list compounds and concentrations in each blank: |  |  |  |
| 2. | Matrix Spike Duplicate Recoveries Met Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. The Blank Spike met requirements for all compounds.The Matrix Spike (SUPPLYMS) analysis met criteria for all compounds except for Chloride due to matrix interferences. The Matrix Spike Duplicate (SUPPLYMSD) analysis met criteria for all compounds except for Chloride due to matrix interferences. |  |  |  |
| 3. | Sample Duplicate Analysis Met QC Criteria If not met, list those compounds and their recoveries which fall outside the acceptable range. |  |  |  |
| 8. | Digestion Holding Time Met If not met, list number of days exceeded for each sample: |  |  |  |

ADDITIONAL COMMENTS: Sample Q2562-03 was analyzed with 10x  straight dilution for Chloride  due to high Concentration.

_______________________________________				__________________________

QA REVIEW								Date